# Sample:

4,186 JHS participants with available plasma at baseline were selected.

# Methodology:

Plasma BNP concentrations were measured using a chemiluminescent immunoassay performed on the Siemens Advia Centaur.

# Reproducibility:

Quality control samples were assayed within each batch of JHS samples. The coefficient of variation (CV) of the assay was measured at three concentrations:

Level 1: 	mean = 48.47 pg/mL		CV = 4.2%

Level 2: 	mean = 472.94 pg/mL		CV = 3.1%

Level 3: 	mean = 1810.03 pg/mL	CV = 3.4%

# Detection Limitations:

The minimal detectable concentration of BNP with this assay was 2.0 pg/mL.

874 (20.9%) of the results returned were less than minimal detectable concentration (≤ 2 pg/mL)

96 (2.3%) of the results returned were characterized as abnormally high concentrations (≥ 100 pg/mL)

# References:

Musani SK, Vasan RS, Bidulescu A, Liu J, Xanthakis V, Sims M, Gawalapu RK, Samdarshi TE, Steffes

M, Taylor HA, Fox ER. Aldosterone, C-Reactive Protein, and Plasma B-Type Natriuretic Peptide Are Associated With the Development of Metabolic Syndrome and Longitudinal Changes in Metabolic Syndrome Components. Diabetes Care. Oct 2013; 36 (10) 3084-3092. DOI: 10.2337/dc12-2562

Fox ER, Musani SK, Singh P, Bidulescu A, Nagarajarao HS, Samdarshi TE, Steffes MW, Wang TJ,

Taylor HA, Vasan RS. Association of Plasma B-Type Natriuretic Peptide Concentrations With Longitudinal Blood Pressure Tracking in African Americans. Hypertension. 2013; 61:48-54. DOI: 10.1161/HYPERTENSIONAHA.112.197657

Fox ER, Musani SK, Bidulescu A, Nagarajarao HS, Samdarshi TE, Gebreab SY, Sung JH, Steffes MW,

Wang TJ, Taylor HA, Vasan RS. Relation of Obesity to Circulating B-Type Natriuretic Peptide Concentrations in Blacks. Circulation. 2011; 124:1021-1027. DOI: 10.1161/CIRCULATIONAHA.110.991943